## Sheet1
Electronic Characteristic:
Item | KWT80105 | KWT80210 | KWT80315 | KWT80420 | KWT80525
Input Voltage Range | 24V/0.16A | 24V/0.32A | 24V/0.48A | 24V/0.64A | 24V/0.80A
Voltage=100~240V(AC) / Frequency=47~63Hz
LED Quantity | 64Pcs/Seat | 128Pcs/Seat | 192Pcs/Seat | 256Pcs/Seat | 320Pcs/Seat
Power Factor | >0.80 @115Vac , >0.80 @230Vac
Power Consumption | 5W | 9W | 15W | 18W | 25W
Operating Temperature | -10°~55°C
Storage Temperature | -20°~60°C
Heat-Sink Spec. | Aluminum(AA6063)
Mask Spec. | PC
PCB Spec. | FR4(94-V0)
Socket Spec. | G13
Tube Diameter | φ28 mm
Tube Length | 330mm 1 ft | 580mm 2 ft | 895mm 3 ft | 1200mm 4 ft | 1500mm 5 ft
Optical Characteristic:
Item | KWT80105 | KWT80210 | KWT80315 | KWT80420 | KWT80525
View Angle | 120°
Color Rendering Index | > 75
LW Type Luminous Flux | 300 Lm | 600 Lm | 900 Lm | 1200 Lm | 1500 Lm
HW Type Luminous Flux | 400 Lm | 800 Lm | 1200 Lm | 1600 Lm | 2000 Lm
*The measurement time of luminance is stably after 30min
*The tolerance of luminance is ±10%